Clin Chem. 2009 Jun;55(6):1188-95. Epub 2009 Mar 5.

Intra- and intersubject whole blood/plasma cannabinoid ratios determined by 2-dimensional, electron impact GC-MS with cryofocusing.

Wewnątrz- i między-osobnicze stężenie kanabinoidów we krwi pełnej / osoczu, określona przez 2-wymiarowe uderzenia elektronów GC-MS z cryofocusingiem.

Schwilke EW, Karschner EL, Lowe RH, Gordon AM, Cadet JL, Herning RI, Huestis MA.

### Source

Chemistry and Drug Metabolism, Intramural Research Program, National Institute on Drug Abuse, NIH, Biomedical Research Center, Baltimore, MD 21224, USA.

### Abstract

#### BACKGROUND:

Whole-blood concentrations of Delta(9)-tetrahydrocannabinol (THC), 11-hydroxy-THC (11-OH-THC), and 11-nor-9-carboxy-THC (THCCOOH) are approximately half of those in plasma due to high plasma protein binding and poor cannabinoid distribution into erythrocytes. Whole blood is frequently the only specimen available in forensic investigations; controlled cannabinoid administration studies provide scientific data for interpretation of cannabinoid tests but usually report plasma concentrations. Whole-blood/plasma cannabinoid ratios from simultaneously collected authentic specimens are rarely reported.

#### METHODS:

We collected whole blood for 7 days from 32 individuals residing on a closed research unit. Part of the whole blood was processed to obtain plasma, and the whole blood and plasma were stored at -20 degrees C until analysis by validated 2-dimensional GC-MS methods.

#### RESULTS:

We measured whole-blood/plasma cannabinoid ratios in 187 specimen pairs. Median (interquartile range) whole-blood/plasma ratios were 0.39 (0.28-0.48) for THC (n = 75), 0.56 (0.43-0.73) for 11-OH-THC (n = 17), and 0.37 (0.24-0.56) for THCCOOH (n = 187). Intrasubject variability was determined for the first time: 18.1%-56.6% CV (THC) and 10.8%-38.2% CV (THCCOOH). The mean whole-blood/plasma THC ratio was significantly lower than the THCCOOH ratio (P = 0.0001; 4 participants' mean THCCOOH ratios were >0.8).

#### CONCLUSIONS:

Intra- and intersubject whole-blood/plasma THC and THCCOOH ratios will aid interpretation of whole-blood cannabinoid data.

PMID:

19264857

[PubMed - indexed for MEDLINE]

PMCID: PMC3197018

Free PMC Article

Images from this publication. See all images (3) Free text

Fig. 1

Ion chromatograms for THC, 11-OH-THC, and THCCOOH extracted from whole blood by SPE followed by 2D GC-MS with cryofocusing

(A), Target (T) and qualifier (Q) ions at the method’s LOQ (0.25 μg/L THC and THCCOOH; 0.5 μg/L 11-OH-THC). (B), A typical chromatogram from postmortem whole blood.

Intra- and Intersubject Whole Blood/Plasma Cannabinoid Ratios Determined by 2-Dimensional, Electron Impact GC-MS with Cryofocusing

Clin Chem. Clin Chem;55(6):1188-1195.

Fig. 3

Intrasubject whole-blood (WB)/plasma (PL) ratio variability in 13 frequent cannabis users positive for THC (A) and THCCOOH (B)

Cannabinoids were determined by SPE followed by 2D-GC-MS with cryofocusing in whole blood and plasma collected simultaneously from frequent cannabis users during 7 days of monitored abstinence.

Intra- and Intersubject Whole Blood/Plasma Cannabinoid Ratios Determined by 2-Dimensional, Electron Impact GC-MS with Cryofocusing

Clin Chem. Clin Chem;55(6):1188-1195.

Fig. 2

Stability of THC, 11-OH-THC, and THCCOOH in whole blood stored in polypropylene cryotubes at −20°C (A), room temperature (B), and 4°C (C)

Whole-blood pools (0.35, 1, 2, 5, 10, 20, 30, or 60 μg/L) were prepared in triplicate on day 0, extracted by SPE, and analyzed by 2D GC-MS with cryofocusing 1 (baseline), 3, 7, and 14 days later. Data points are means of all QC samples for Fig. 1A (n = 24) and concentrations 1, 10, 30, and 60 μg/L for Fig. 1, B and C (n = 12).

Intra- and Intersubject Whole Blood/Plasma Cannabinoid Ratios Determined by 2-Dimensional, Electron Impact GC-MS with Cryofocusing

Clin Chem. Clin Chem;55(6):1188-1195.

### Related citations

- Identification of recent cannabis use: whole-blood and plasma free and glucuronidated cannabinoid pharmacokinetics following controlled smoked cannabis administration. [Clin Chem. 2011]

Identification of recent cannabis use: whole-blood and plasma free and glucuronidated cannabinoid pharmacokinetics following controlled smoked cannabis administration.

Schwope DM, Karschner EL, Gorelick DA, Huestis MA. Clin Chem. 2011 Oct; 57(10):1406-14. Epub 2011 Aug 11.

- Delta9-tetrahydrocannabinol (THC), 11-hydroxy-THC, and 11-nor-9-carboxy-THC plasma pharmacokinetics during and after continuous high-dose oral THC. [Clin Chem. 2009]

Delta9-tetrahydrocannabinol (THC), 11-hydroxy-THC, and 11-nor-9-carboxy-THC plasma pharmacokinetics during and after continuous high-dose oral THC.

Schwilke EW, Schwope DM, Karschner EL, Lowe RH, Darwin WD, Kelly DL, Goodwin RS, Gorelick DA, Huestis MA. Clin Chem. 2009 Dec; 55(12):2180-9. Epub 2009 Oct 15.

- Postmortem redistribution of Δ9-tetrahydrocannabinol (THC), 11-hydroxy-THC (11-OH-THC), and 11-nor-9-carboxy-THC (THCCOOH). [Forensic Sci Int. 2011]

Postmortem redistribution of Δ9-tetrahydrocannabinol (THC), 11-hydroxy-THC (11-OH-THC), and 11-nor-9-carboxy-THC (THCCOOH).

Holland MG, Schwope DM, Stoppacher R, Gillen SB, Huestis MA. Forensic Sci Int. 2011 Oct 10; 212(1-3):247-51. Epub 2011 Jul 20.

- Validation of a two-dimensional gas chromatography mass spectrometry method for the simultaneous quantification of cannabidiol, Delta(9)-tetrahydrocannabinol (THC), 11-hydroxy-THC, and 11-nor-9-carboxy-THC in plasma. [Anal Bioanal Chem. 2010]

Validation of a two-dimensional gas chromatography mass spectrometry method for the simultaneous quantification of cannabidiol, Delta(9)-tetrahydrocannabinol (THC), 11-hydroxy-THC, and 11-nor-9-carboxy-THC in plasma.

Karschner EL, Barnes AJ, Lowe RH, Scheidweiler KB, Huestis MA. Anal Bioanal Chem. 2010 May; 397(2):603-11. Epub 2010 Mar 20.

- Review Relating blood concentrations of tetrahydrocannabinol and metabolites to pharmacologic effects and time of marijuana usage. [Ther Drug Monit. 1993]

Review Relating blood concentrations of tetrahydrocannabinol and metabolites to pharmacologic effects and time of marijuana usage.

Cone EJ, Huestis MA. Ther Drug Monit. 1993 Dec; 15(6):527-32.